## Summary
Maintenance and Health & Safety >$100 (7/1/17-3/1/20)
| Maintenance |  |  | Health & Safety
| 2.75 yr maintenance | 3yr interprolated | Yearly avg | 2.75 yr Health & Safety | 3yr interprolated | Yearly avg
18 Jacobs | 11070.1 | 12076.4727 | 4025.4909 | 3693.45 | 4029.2182 | 1343.0727
CH | 13968.53 | 15238.3964 | 5079.4655 | 2999.15 | 3271.8 | 1090.6
Sawyer | 9840.34 | 10734.9164 | 3578.3055 | 2807.6 | 3062.8364 | 1020.9455
Hwy G | 5027.67 | 5484.7309 | 1828.2436 | 0 | 0 | 0
Notes: Lawn mower, snowblower purchase and plowing were removed from maintenance 18 Jacobs Rd.
Elevator inspection and repair was kept in maintenance
Health& Safety includes fire alarm and ansul system repairs and testing, water testing and treatment, fire
extinguisher maintenance, security system testing and repair
Yearly Costs
Purpose | Former School | CH | Sawyer
Range Hood Cleaning | 150 | 350 | 0
Ansul syst., Fire Extinguishers | 337.5 | 190.08 | 0
Fire alarm testing/repair | 736.33 | 588.5 | 781.83
Boiler repair | 296.66 | 203.01 | 1171.46
elevator repair/insp | 0 | 985.33 | 1843.67
water testing | 305 | 0 | 0
Total | 1825.49 | 2316.92 | 3796.96

## 18 Jacobs
Inspections and Maintenance >$100 (7/1/17-3/1/20)
Date | Vendor | Purpose | Location | Am't | yearly | purpose
2019-10-07 | Advanced Air Quality | Range Hood Cleaning | 18 J | 150
2019-10-21 | Advanced Air Quality | Range Hood Cleaning | 18 J | 150 | 150 | Range Hood Cleaning
2019-11-04 | Allstate Fire Equip | Ansul syst., Fire Extinguishers | 18 J | 337.5 | 337.5 | Ansul syst., Fire Extinguishers
2018-06-18 | Culligan; Danbury, CT | Water treatment | 18 J | 231.95
2018-03-12 | Danek Excavating | plowing 12/13/17-1/18/18 | 18 J | 725
2017-08-14 | Fire Control System, Inc | Fire alarm testing/repair | 18 J | 220
2019-07-01 | Fire Equipment Inc. | Fire alarm testing/repair | 18 J | 324 | 736.3333 | Fire alarm testing/repair
2017-08-14 | Fire Equipment, Inc. | Fire alarm testing/repair | 18 J | 300
2018-06-04 | Fire Equipment, Inc. | Fire alarm testing/repair | 18 J | 600
2018-06-30 | Fire Equipment, Inc. | Fire alarm testing/repair | 18 J | 765
2017-10-23 | Frank Labelle's Sales & Service | Purchase of snowblower and misc. equip | 18 J | 660
2018-06-04 | Frank Labelle's Sales & Service | service for lawnmower | 18 J | 386.42
2018-01-15 | George Propane | ? | 18 J | 230.65
2020-02-11 | Glen White | Boiler repair | 18J | 889.99 | 296.6633 | Boiler repair
2017-09-11 | GovConnection, Inc. | ? | 18 J | 289.68
2019-11-18 | Hartnett Plumbing | Hot water tank circulating pump relacement, 2 faucets | 18 J | 1176.77
2017-08-28 | Howard Laboratories | Water testing | 18 J | 265
2017-10-09 | Howard Laboratories | Water testing | 18 J | 270
2018-01-15 | Howard Laboratories | Water testing | 18 J | 180 | 305 | Water testing
2018-04-09 | Howard Laboratories | Water testing | 18 J | 100
2018-06-30 | Howard Laboratories | Water testing | 18 J | 100
2017-08-14 | Mohawk Trail Regional District | Purchase of lawn mower | 18 J | 908.85
2019-08-26 | Osterman Propane | Cooking Stove service | 18 J | 199
2019-08-12 | Palmeri Electric | New wiring attic fans | 18 J | 1563.87
2019-08-26 | Palmeri Electric | New wiring attic fans | 18 J | 422.31 |  | 6400.72
2019-11-18 | Palmeri Electric | Exterior Lights | 18 J | 741.33
2017-08-14 | Smith & Associates Locksmith's | Lock repair/replacement | 18 J | 500 |  | 4985.36
2020-02-11 | Titan Roofing | Roof repair | 18 J | 4000 |  | 1415.36
2019-09-23 | Valley Commercial Appliance | dishwasher, convection oven repair | 18 J | 756.5
|  |  | Total | 17443.82
|  |  | Health& Safety | 3693.45
|  |  | Removal of lawn mower, snowblower purchase and plowing | 2680.27
|  |  | 2.75 Maintenance total | 11070.1

## yearly summary
|  |  |  | school |  | ch
Yearly cost
Purpose | Former School | CH | Sawyer | yearly | purpose
Range Hood Cleaning | 150 | 350 | 0 | 150 | Range Hood Cleaning | 350 | Range Hood Cleaning | 1843.6667 | elevator repair/insp
Ansul syst., Fire Extinguishers | 337.5 | 190.08 | 0 | 337.5 | Ansul syst., Fire Extinguishers
Fire alarm testing/repair | 736.33 | 588.5 | 781.83 |  |  | 190.0833 | Ansul syst., Fire Extinguishers
Boiler repair | 296.66 | 203.01 | 1171.46
elevator repair/insp | 0 | 985.33 | 1843.67
water testing | 305 | 0 | 0 | 736.3333 | Fire alarm testing/repair
Total | 1825.49 | 2316.92 | 3796.96
[8 empty] | 751.8333 | Fire alarm testing/repair
|  |  |  | 296.6633 | Boiler repair
[6 empty] | 985.3333 | elevator repair/insp
[8 empty] | 1171.4633 | Boiler Repair
|  |  |  | 305 | Water testing
[6 empty] | 588.5 | Fire alarm testing/repair
[6 empty] | 203.01 | Boiler repair

## CH
Inspections and Maintenance >$100 (7/1/17-3/1/20)
Date | Vendor | Purpose | Location | Am't | Yearly | Purpose
2018-03-26 | Advanced Air Quality | Kitchen hood cleaning | CH | 350
2019-04-22 | Advanced Air Quality | Range Hood Cleaning | CH | 350 | 350 | Range Hood Cleaning
2018-01-29 | Allstate Fire Equipment | Ansul syst., Fire Extinguishers | CH | 170
2019-06-03 | Allstate Fire Equipment | Ansul syst., Fire Extinguishers | CH | 189.5 | 190.0833 | Ansul syst., Fire Extinguishers
2020-01-13 | Allstate Fire Equipment | Ansul syst., Fire Extinguishers | CH | 210.75
2020-01-27 | ATC Group Services LLC | Asbestos Testing | CH | 1450
2017-10-23 | Bostley's Sanitery Services | Septic cleaning | CH | 460
2018-02-26 | Cushing & Sons, Inc | mitigate frozen pipes | CH | 439.32
2018-02-26 | Cushing & Sons, Inc | mitigate frozen pipes | CH | 448.13
2018-02-26 | Cushing & Sons, Inc | mitigate frozen pipes | CH | 2200
2019-07-15 | Detectoguard | Security system maint/repair | CH | 69
2019-10-07 | Detectoguard | Security system maint/repair | CH | 138
2020-01-13 | Detectoguard | Security system maint/repair | CH | 144
2017-08-14 | Eagle Elevator | elevator repair/insp | CH | 105
2018-01-15 | Eagle Elevator | elevator repair/insp | CH | 400
2018-02-12 | Eagle Elevator | elevator repair/insp | CH | 105
2018-06-04 | Eagle Elevator | elevator repair/insp | CH | 290 | 985.3333 | elevator repair/insp
2019-11-18 | United Elevator Co | elevator repair/insp | CH | 104
2020-01-13 | United Elevator Co | elevator repair/insp | CH | 104
2018-10-22 | United Elevator Co. Inc | elevator repair/insp | CH | 104
2019-02-25 | United Elevator Co. Inc | elevator repair/insp | CH | 392.5
2019-03-11 | United Elevator Co. Inc | elevator repair/insp | CH | 352
2019-04-22 | United Elevator Co. Inc | elevator repair/insp | CH | 549.5
2020-01-13 | United Elevator Co. Inc | elevator repair/insp | CH | 450
2017-08-28 | Fire Equipment | Fire alarm testing/repair | CH | 300
2017-09-25 | Fire Equipment | Fire alarm testing/repair | CH | 300
2018-06-04 | Fire Equipment | Fire alarm testing/repair | CH | 199
2018-07-01 | Fire Equipment Inc. | Fire alarm testing/repair | CH | 300 | 588.5 | Fire alarm testing/repair
2019-06-03 | Fire Equipment Inc. | Fire alarm testing/repair | CH | 135.5
2019-06-03 | Fire Equipment Inc. | Fire alarm testing/repair | CH | 207
2019-07-01 | Fire Equipment | Fire alarm testing/repair | CH | 324
2019-11-18 | Franklin Reg.Co | Hazardous Mat'ls Survey | CH | 412.5
2018-10-22 | Glen White | Boiler repair | CH | 245.02
2020-02-11 | Glen White | Boiler repair | CH | 161 | 203.01 | Boiler repair
2019-10-07 | Howard Laboratories | Water testing | CH | 100
2018-02-26 | Jerry Ferguson | Electrical repairs | CH | 332.51
2018-01-01 | Mass Fire Technologies | ? | CH | 212.4
2017-10-09 | Matthew Lively | Uncover septic for cleaning | CH | 225
2018-02-26 | Matthew Lively | excavation for frozen pipes | CH | 1000
2018-03-26 | Matthew Lively | excavation for frozen pipes | CH | 1100
2018-06-18 | Matthew Lively | ? | CH | 900
2018-12-03 | Osterman Propane | service | CH | 302.84
2017-08-14 | Smith & Assoc Locksmith | Lock repair/replacement | CH | 250
2018-06-18 | Ward Plumbing & Heating | plumbing repairs | CH | 113
2018-06-18 | Ward Plumbing & Heating | plumbing repairs | CH | 273.21
|  |  | Total | 16967.68
|  |  | Health& Safety | 2999.15
|  |  | 2.75 yr total maintenance | 13968.53

## Sawyer
Inspections and Maintenance >$100 (7/1/17-3/1/20)
Date | Vendor | Purpose | Location | Am't | yearly | purpose
2017-10-23 | Bostley's Sanitary Services | septic cleaning | Sawyer | 360
2017-08-14 | Eagle Elevator | elevator repair/insp | Sawyer | 105
2017-08-28 | Eagle Elevator | elevator repair/insp | Sawyer | 389 | 1843.6667 | elevator repair/insp
2017-11-06 | Eagle Elevator | elevator repair/insp | Sawyer | 105
2017-12-18 | Eagle Elevator | elevator repair/insp | Sawyer | 471
2018-01-29 | Eagle Elevator | elevator repair/insp | Sawyer | 400
2018-06-04 | Eagle Elevator | elevator repair/insp | Sawyer | 490
2018-06-18 | Eagle Elevator | elevator repair/insp | Sawyer | 105
2019-09-09 | United Elevator Co | elevator repair/insp | Sawyer | 104
2019-11-18 | United Elevator Co | elevator repair/insp | Sawyer | 104
2020-01-13 | United Elevator Co | elevator repair/insp | Sawyer | 104 | 751.8333 | Fire alarm testing/repair
2018-10-22 | United Elevator Co. Inc | elevator repair/insp | Sawyer | 104
2019-01-28 | United Elevator Co. Inc | elevator repair/insp | Sawyer | 450
2019-05-06 | United Elevator Co. Inc | elevator repair/insp | Sawyer | 489
2019-06-17 | United Elevator Co. Inc | elevator repair/insp | Sawyer | 104
2019-06-30 | United Elevator Co. Inc | elevator repair/insp | Sawyer | 104
2019-06-30 | United Elevator Co. Inc | elevator repair/insp | Sawyer | 104
2019-07-29 | United Elevator Co. Inc | elevator repair/insp | Sawyer | 1349
2020-01-13 | United Elevator Co. Inc | elevator repair/insp | Sawyer | 450 | 1171.4633 | Boiler Repair
2017-09-25 | Fire Equipment | Fire alarm testing/repair | Sawyer | 300
2018-06-04 | Fire Equipment | Fire alarm testing/repair | Sawyer | 215
2017-07-31 | Fire Equipment Inc. | Fire alarm testing/repair | Sawyer | 100
2018-07-01 | Fire Equipment Inc. | Fire alarm testing/repair | Sawyer | 300
2019-06-30 | Fire Equipment Inc. | Fire alarm testing/repair | Sawyer | 224
2019-06-30 | Fire Equipment Inc. | Fire alarm testing/repair | Sawyer | 230
2019-07-01 | Fire Equipment Inc. | Fire alarm testing/repair | Sawyer | 324
2019-07-29 | Fire Equipment Inc. | Fire alarm testing/repair | Sawyer | 562.5
2018-10-22 | Glen White | Boiler Repair | Sawyer | 150.5
2019-03-25 | Glen White | Boiler Repair | Sawyer | 307.62
2019-05-30 | Glen White | Boiler Repair | Sawyer | 2629.17
2020-01-27 | White Heating | Boiler Repair | Sawyer | 256.12
2020-02-11 | Glen White | Boiler Repair | Sawyer | 170.98
2020-01-13 | Howard Laboratories | Water Testing | Sawyer | 120
2018-02-26 | Jerry Ferguson | sump pump outlet | Sawyer | 100
2019-02-25 | Mass Fire Tech Inc. | ? | Sawyer | 432.1
2017-10-09 | Matt Lively | uncover septic | Sawyer | 225
2018-05-07 | Sawyer Hall Internet correction | internet connect | Sawyer | 109.95
|  |  | Total | 12647.94
|  |  | Health& Safety | 2807.6
|  |  | 2.75 Maintenance total | 9840.34

## Hwy G
Inspections and Maintenance >$100 (7/1/17-3/1/20)
Date | Vendor | Purpose | Location | Am't
2017-10-23 | Jerry Ferguson | Replace column | HWY G | 2015
2019-07-29 | Fire Equipment Inc. | ? | FD | 324
2019-10-07 | EPS of VT | ? | HWY G | 908.46
2019-11-18 | EPS of VT | ? | HWY G | 1630.21
2020-01-13 | Franklin County Solid Waste District | ? | HWY G | 150
|  |  | Total | 5027.67